Request for Proposal

Network Operation Center

and

Engineering Services

August 18, 2014

Table of Contents

Introduction	3

Opening Instructions	4

RFP Schedule of Events and Dates	5

Table 1 - RFP Events and Dates	5

Response Requirements	5

Evaluation Process	6

Further Proceedings	6

Overview	8

Network Architecture	9

Figure 1 – MCFN Network Fiber Plant	9

Network Architecture and Operational Details	10

Engineering Services – What is Needed	11

Engineering Services – Price Matrix	13

Table 2 – Engineering Pricing Matrix (One-Time Costs)	13

Table 3 – Engineering Pricing Matrix (Monthly Costs)	13

Engineering Qualifications	13

Network Operation Center Services	15

Background	15

Monitoring System	15

Services Checklist – IP Network Monitoring and Problem Management	16

Table 4 – Network Monitoring and Problem Management	16

Provisioning	17

Device Configuration Management	17

Asset Data Management	17

NOC Pricing	17

Table 5 – NOC Pricing Matrix (Monthly Costs)	17

Added Value	18

Appendix A – Network Equipment	19

# Introduction

In 2006, the Medina County Commissioners announced their intent to make fiber broadband access more widely available throughout the County in support of governmental use (including to serve the County’s needs as well as those of other governmental users, including municipalities, school districts, libraries and others), access for governmental and non-governmental providers of public services in the County (including educational, healthcare, research, cultural and other community institutions) and economic development (including retention and expansion of existing businesses, attraction of new businesses, facilitating job training and education). The Medina County Fiber Network (MCFN) is intended to provide a platform to promote all of those purposes at a cost that is acceptable to the County and the Medina County Port Authority (MCPA), effectively creating an e-Corridor linking the participants, not only to one another, but also to carrier facilities and carriers throughout the region and serving as a gateway to alternative networks and services.

This Request for Proposals (RFP) is issued by the MCPA in order to receive proposals from respondents (Respondents) who are willing and able to provide the MCFN in accordance with the requirements of this RFP and who are willing to work with the County and MCPA toward a final engineering design and installation in addition to network operation center services. MCPA and Medina County specifically reserve the right to reject any and all Proposals, at any time and for any reason or no reason, the acceptance of any Proposal and the decision to continue with the MCFN being in the sole and absolute discretion of the County (acting through the Commissioners) and MCPA (acting through the Board).

As further described in this RFP, the County, MCPA and MCEDC will not be responsible for any costs incurred by any Respondent in preparing and submitting its Proposal or otherwise in respect of responding to this RFP.

[ REMAINDER OF PAGE INTENTIONALLY LEFT BLANK ]

# Opening Instructions

Carefully read the information contained in this RFP and submit a complete response to all requirements, specifications, and questions to MCPA as directed herein or requested by MCPA or the County. The address of the Port Authority is as follows:

Medina County Port Authority
144 North Broadway
Medina, OH 44256
Phone: 330.722.9215

Contact for this RFP:

David Corrado
Medina County Fiber Network
144 North Broadway
Medina, Ohio 44256
Phone: 216.832.7059

dcorrado@fibercounty.com

Questions and Inquiries

Respondents who have questions about the RFP should e-mail such questions to the above-named Contact for this RFP (herein Contact) by the dates noted in the RFP schedule in Table 1.

Every effort will be made to post all questions and answers within 3-5 working days via distribution emails.

Responses to questions which involve an interpretation or change to this RFP will be issued in writing by addendum and e-mailed to all parties recorded by MCPA as having received a copy of the RFP and having elected to proceed with responding to the RFP.

It is the responsibility of the Respondent to ensure MCPA has the correct contact information.  All addenda issued prior to the time that proposals are received shall be considered part of the RFP. Only additional information provided by formal written addenda shall be binding. Anyone receiving a copy of this RFP other than directly from MCPA is responsible for notifying the Contact that they are in receipt of an RFP package and for providing a name, address and e-mail in the event an addendum is issued.

This RFP Word document is not locked or password protected which allows the Respondent to enter responses directly into the appropriate section.  Do not submit responses under separate cover.  All responses should be entered into the appropriate sections within this document.

All materials submitted in response to this RFP will, upon receipt, become the sole property of MCPA and may become a part of any contract relating to the MCFN regardless of whether submitted by the contracting party. The Respondent, by acceptance of this RFP agrees that any cost incurred in responding to this RFP, or in support of activities associated with this RFP, any response whether or not resulting in a Proposal, and any efforts of the Respondent, whether or not at the request of MCPA or the County in connection with the transactions contemplated by this RFP, in the absence of an express written contract approved by the Commissioners and the Board, shall be borne solely by the Respondent and cannot be billed to MCPA or the County. MCPA and the County will incur no obligation or liability whatsoever to anyone by reason of issuance of this RFP, or action by anyone relative thereto.

# RFP Schedule of Events and Dates

All events and dates are subject to change. MCPA will give reasonable notice of changes via email and notification to those continuing in the RFP process.

| RFP Event | Projected Schedule |
| --- | --- |
| RFP Release | August 18, 2014 |
| Intent to Respond Notification; All Questions Submitted | August 22, 2014 |
| MCPA-Issued Responses to All Respondent Questions | August 27, 2014 |
| Proposals Submitted to MCPA | September 22, 2014 |
| Proposal Review Begins | September 23, 2014 |
| Proposal Selection | September 30, 2014 |

### Table 1 - RFP Events and Dates

# Response Requirements

Time for Submission

The closing date and time for submitting a Proposal as noted in the RFP Schedule will be September 22, 2014 at 5pm. Any responses received after that time on that closing date will not be accepted.

Response Submissions and Opening

Proposals submitted in response to this RFP must be submitted via email only which includes a read receipt. It is the sole responsibility of the Respondents to ensure that their responses arrive in a timely manner.

# Evaluation Process

The MCPA will review the accepted Proposals with the County based on the evaluation criteria listed below and the value to MCPA and the County. MCPA and the County will form a task force to review the Proposals and the task force will compare and rank the Proposals, based on the Evaluation Criteria below and using a point-based weighted ranking system, as set forth under “Evaluation Criteria” below. Once that objective evaluation is made, each Proposal will also be evaluated, and all Proposals will be ranked, based on the subjective criteria listed under “Value to Medina County” below. MCPA and the County reserve the right, at any time and for any reason or no reason, to reject any and all Proposals.

Evaluation Criteria

Understanding of Scope of Work	25 Points

Network Operation Center Capability	25 Points

Engineering Services Offering and Capability	25 Points

Price	25 Points

Total									  100 Points

## Further Proceedings

The option of whether or not to initiate negotiations rests solely with the County Commissioners and the MCPA Board. If those Boards elect to initiate contract negotiations, these negotiations can involve changes in the MCPA’s requirements or the Respondent’s Proposal which could, by their nature, affect the basis of selection. The Respondent will remain responsible for all expenses during any contract negotiations.

Final negotiations, terms and acceptance, if any, of all or any portion of any Respondent’s Proposal will be in the sole and absolute discretion of the MCPA Board and the County Commissioners. The County and MCPA reserve the right to reject any and all Proposals at any time and for any reason or no reason, and to reject or accept any Proposal in whole or in part.

The schedule is not and will not be fixed. The County and MCPA intend to proceed with all reasonable speed throughout the process. In the event that more than one Proposal is found worthy of consideration, in whole or in part, and acceptance of one Proposal, in part, would not impede or affect the consideration of another response, the County and MCPA will seek to move forward with each response as quickly as reasonable.

At any time, the County or MCPA may choose to continue discussions or negotiations with a particular Respondent, terminate discussions or negotiations with a particular Respondent while continuing discussions or negotiations with other Respondents or conclude discussions or negotiations with all Respondents.

The MCPA also reserves the right, at any time and from time to time, to:

- Request clarification or additional information from any Respondent.

- Waive immaterial defects or minor irregularities in responses.

- Modify, remove, or add requirements to the RFP and suspend or re-open the RFP process.

- Separate services and service delivery areas in the County, and consider Proposals by different Respondents to provide different services to MCFN users or provide services in different service delivery areas, on a nondiscriminatory basis.

- Reject any or all responses and terminate the RFP. As noted, costs incurred by any Respondents in the preparation of the response to this RFP are the Respondent's responsibility, and will not, under any circumstances, be reimbursed by the County or MCPA.

- CANCELLATION – The MCPA reserves the right to cancel further proceedings pursuant to this RFP for any reason. In no event shall the County or MCPA have any liability for such cancellation.

7. STATE AND FEDERAL LAW COMPLIANCE - Successful Respondents who develop a contractual relationship with the MCPA to provide some or all of the services contemplated in this RFP shall be expected to agree:

- to make payment promptly as due to all persons supplying the Respondent with labor or materials for carrying out the work provided for in its contract with the MCPA;

- to not permit any lien or claim to be filed or prosecuted against the County or the MCPA on account of any labor or material furnished; and

- to comply with all applicable Contract provisions required by Ohio State law or otherwise described in this solicitation. Successful Respondents who develop a contractual relationship with the MCPA shall also agree to comply with all applicable Federal and Ohio State laws relating to workers' compensation, unemployment compensation, taxation, and health and safety. The attention of all Respondents is directed to State, Federal and local law prohibiting discrimination in employment, which shall be applied to any successful Respondent.

# Overview

The MCPA is seeking a partner who has extensive capabilities in the monitoring and operations of a fiber network from real time 24x7 alert and proactive procedures through backbone engineering and provisioning of customer laterals.

The remainder of this document outlines technical requirements necessary for a potential provider to submit a proposal for providing engineering and monitoring services.  A respondent can submit documents supporting their proposed solution(s) for either sections, Network Operations Center or Engineering Services; however, a respondent who can provide a solution for both sections will receive a higher score.  The MCPA reserves the right to award multiple contracts, if necessary, depending on the respondent capabilities.

Because the MCFN is in its startup phase, and the network will require re-engineering, the duration of this award is for one year with a two year renewal option.  After 12 months, depending on the state of the network, the award recipient will be able to renegotiate price applicable to the number of customers.

The previous provider built the MCFN as an extension of the provider’s network instead of building a standalone network.  The goal of the MCFN is to be a layer-2, standalone network, with an open architecture for other carriers to bring layer-3 services through standard NNI’s.  The reengineering of the MCFN is a large portion of this RFP and will require in-depth engineering resources.  It is desired that the awarded NOC respondent have a direct layer-2 NNI connection into the MCFN; however, Internet based monitoring will be considered.

The engineering portion is open to all suggestions, including proposals that include a different hardware platform than the current Juniper access nodes.  If an alternative platform is specified, all incremental net costs must be included in a detailed financial analysis.

[ REMAINDER OF PAGE INTENTIONALLY LEFT BLANK ]

# Network Architecture

The diagram below shows the current network architecture and will be referred to throughout the remainder of this document.

### Figure 1 – MCFN Network Fiber Plant

Legend

A - Head-end location at Aegis Data Center, 12875 Corporate Drive, Suite A, Parma, Ohio  44129

B – Head-end location at Zayo POP, 30 North High Street, Akron, Ohio 44308

C – Access node at Brunswick City Hall, 4095 Center Road, Brunswick, Ohio 44212

D –Access node at Medina County University Center, 6300 Technology Lane, Medina, Ohio

44256

E – Access node at Westfield Center City Hall, Greenwich Road, Westfield Center, OH 44251

F – Access node at Medina County Administration Building, 144 N. Broadway, Medina, OH

44256

G – Access node at 1153 Medina Road, Medina, OH 44256

H – Two single-mode fiber strands terminating at 1621 Euclid Avenue, Cleveland, OH (Keith Building)

## Network Architecture and Operational Details

The MCFN is comprised of approximately 150 miles of 144-count single mode fiber.  Five access nodes (F and G will be constructed by 10/15/14) are used to attenuate the signal generated at the two POP’s (Aegis Data Center and Zayo POP).  The head-end gear is unknown.  All that is known is that the fiber at each data center terminates into network equipment owned by OneCommunity.  It’s most probable that the fiber at the POP’s is configured directly into OneCommunity’s backbone making the MCFN an extension of OneCommunity’s network.

Network configurations are controlled by OneCommunity and are not available to publish with this RFP (this is one example of why the Medina County Port Authority is separating from OneCommunity).  The equipment ordered by OneCommunity and purchased by Medina County is listed in Appendix A.  The Fujitsu Flashwave equipment has not been installed.  Only the Juniper 4200 equipment has been distributed into access node locations.

At the Aegis Data Center, Fidelity Voice and Data is connected into the MCFN through an OneCommunity fiber connection between the Aegis Data Center and 1621 Euclid Avenue, Cleveland, OH (The Keith Building).  Fidelity Voice and Data provides Internet and voice services to customers on the MCFN, using the MCFN as a last mile carrier.  OneCommunity is connected to the MCFN directly as the MCFN fiber is terminated into OneCommunity network equipment.

At the Zayo POP, only OneCommunity is directly connected into the MCFN, using their own equipment.  No other carriers connect into the MCFN through the Zayo POP.

First Communications is connecting into the MCFN from their West Market Street location as a temporary solution until the MCFN moves its Zayo POP to Cascade Plaza (more discussion on this topic later in this document).

As one reads through this section, it is evident that the current network design is far from the network architecture that was promised in the construction RFP, and expected, by the Medina County Port Authority.  The goal of the network is to provide an open architecture that provides layer-2 transport only for other carriers to bring their IP services into Medina County.  The desired network provides equipment interfaces to carrier equipment using VLAN’s to segregate lateral traffic.  Any layer-3 protocols such as MPLS, VPN or voice protocols are provided and configured through a carrier NNI.

All customer contracts are held by the partner carrier.  The MCFN does not write direct contracts with customers for the following reasons:

- Consolidated invoicing – most customers prefer to be billed by one carrier and the Medina County Port Authority can only sell transport services.

- Single point of contract – customers have a single phone number to contact, which is the carrier’s NOC.  If a carrier’s NOC needs to contact the MCFN NOC, a level 2 communication is established between the two facilities to debug open issues.

- Customers are more comfortable signing with a carrier who has an established business and a large install base.

- Carriers who provide voice services normally have a telecommunication billing system that has call detail records.

- With the carrier of record holding a single contract with the customer, customer advocacy is ultimately the responsibility of the carrier rather than split between the carrier and the MCFN.  This allows the carrier of record complete control over customer satisfaction and contract renewals.

The Medina County Port Authority does invoice nine (9) customers that joined the MCFN early.  At that time, the MCFN was contracting directly for transport with the customer.  Those contracts will eventually be migrated to the new contract process when the contract term expires.

OneCommunity is the current NOC and engineering services company of record.  They monitor the access nodes, their head-end equipment and customer premise equipment which are EX3200’s or EX2200’s.  Engineering services include configuration of backbone equipment when adding a new customer or a new carrier and provisioning of customer laterals.

The fiber network is distributed into three (3) types of fiber uses:

- Transport fiber – fiber reserved that transverses the entire network.  Access nodes are connected through a pair of fiber, rated at 10 Gbps.  Other fibers reserved for transport will be used for additional capacity needed above the initial 10 Gbps.

- Star fiber – fiber reserved for local loops, creating redundant networks for geographically close locations.

- Local fiber – lateral fiber from customer premise to an access node.  SFP’s using a single pair of fiber are used currently but single fiber SFP’s are desired.

# Engineering Services – What is Needed

Referring to Figure 1 on page 9, the following engineering services are needed:

- At point A, fiber is terminated into OneCommunity’s backbone equipment.  These fibers must be separated from OneCommunity’s backbone equipment and terminated into MCFN gear.  The equipment specified by the Respondent will also need a rack(s) and power within the Aegis Data Center.  The MCPA will assist the awarded Respondent with obtaining the necessary data center space.  It is the Respondent’s responsibility to specify the make and model of the network equipment for this location and the reasons why this type of equipment of proposed.

- At point B, fiber is terminated into OneCommunity’s backbone equipment.  These fibers must be separated from OneCommunity’s backbone equipment and terminated into MCFN gear.  Point B will be migrated into the 9th floor at Cascade Plaza (140 South Main Street, Akron, OH), co-locating within First Communications’ data center.  Rack and power will be proved by First Communications. The Respondent will be necessary for configuring the network equipment at this location, migrating any software configurations from the equipment located at the Zayo POP to the new Cascade Plaza location.  It is the Respondent’s responsibility to specify the make and model of the network equipment for this location and the reasons why this type of equipment is proposed.

- Points C, D, E, F and G are access nodes which, currently, are Juniper 4200’s.  This equipment must be configured to work with the new MCFN architecture, supporting existing customers and providing a platform for adding new customers.  If Respondent is proposing new network equipment, specify the make and model of the network equipment for this location and the reasons why this type of equipment is proposed.

- The link between points A-H is a two strand, single mode IRU fiber purchased from FiberTech.  This link terminates into the Keith Building to support existing carriers and to provide additional NNI’s with Keith Building carriers.  Respondent must specify network equipment that will be needed at point H.  It is the Respondent’s responsibility to specify the make and model of the network equipment for this location and the reasons why this type of equipment is proposed.

- The link between points A-B is a two strand, single mode IRU fiber purchased from FiberTech.  This link provides network path redundancy for customers desiring RSTP failover at their location.  This link also provides a true fiber loop network configuration. The Respondent will need to configure the POP equipment at points A and B into the overall network design and configuration.

- Customer and carrier on-boarding services, which include placement and configuration of customer premise equipment and circuit provisioning for new customers and integration of carrier services onto the MCFN, are the operational, on-going engineering services needed for the network.

# Engineering Services – Price Matrix

Table 2 shown below is a pricing matrix for items #1 - #6 on pages 11 and 12.  The Respondent is to complete this matrix, in US Dollars, in addition to providing any notes related to the pricing.

| Item # | One-Time Cost | Notes |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |

### Table 2 – Engineering Pricing Matrix (One-Time Costs)

| Item # | Monthly Cost | Notes |
| --- | --- | --- |
| 6 |  |  |
| On-boarding costs on an individual site basis can be proposed but must be noted as a unit price. All equipment for on-boarding a customer is purchased by the MCPA but the Respondent will need to provide a hardware distributor that will work with the MCPA. |

### Table 3 – Engineering Pricing Matrix (Monthly Costs)

# Engineering Qualifications

This section focuses on the Respondent’s engineering resources and qualifications of those resources that will be supporting the MCFN.  The questions below relate to Juniper equipment, which is the current configuration.  If the Respondent is proposing an equipment swap, be sure to identify the platform and certification levels of the engineering resources.

a)  List the number of engineers who have Juniper experience, the number of  years of experience for each engineer and the Juniper certifications held by each engineer.

b) Larger companies within Medina County will require RSTP failover using redundant routes.  Discuss your approach to using RSTP with Juniper routers related to the Medina network.  Be specific.

c) List how many customers are supported by your organization that uses a Juniper network environment.

d) From a customer standpoint, how would you deploy last mile CPE and describe the contents of your design package.

e) Discuss how you will evaluate traffic flow across the network from a capacity perspective.

f) Describe how to test the physical optical layer within a Juniper box?

g) Detail your approach to configuration backup policies.

h) If MX-80’s were added to the access nodes and POP’s, how will convergence and provisioning change from the current environment?  The current environment uses Spanning Tree Protocol which will need to be changed because of its long convergence time.

i) List at least three customer resources that utilize your firm for engineering services.

j) Provide a project plan that addresses work effort and duration for the one-time projects listed on pages 11 and 12.  The one-time engineering projects are time critical.  Microsoft Project format is preferred but an Excel Gant Chart is acceptable.  The project plan can be sent under separate cover from this RFP template (it’s the only deliverable that can be sent under separate cover).

[ REMAINDER OF PAGE INTENTIONALLY LEFT BLANK ]

# Network Operation Center Services

## Background

It is preferred that a Respondent is directly connected to the Medina County Fiber Network via layer-2.  However, Internet based monitoring will be accepted and evaluated but layer-2 connectivity will take precedence.  If a Respondent is geographically close to the MCFN, the price for connecting to the MCFN should be presented separately from the monitoring price.

The MCFN has approximately thirty-five (35) customers that use Juniper EX-3200 and EX-2200 customer premise equipment for fiber termination.  There will be five (5) access nodes and two points of presence (see figure 1 on page 9).  All backbone and CPE will need to be monitored to the dmarc location.  Equipment on the local area network side or equipment used by partner carriers to deliver layer-3 services will not require monitoring.

## Monitoring System

a) How many people are in your NOC?

b) How many people support your NOC after-hours, weekends and holidays?

c) How many customers are monitored by your NOC?

d) How many Juniper networks are monitored by your NOC?

e) What is the number of end-nodes monitored by your NOC?

f) How do you monitor a fiber cut?

g) Discuss the workflow system and how it applies to a customer incident.

h) Explain the security measures employed by your NOC.

i) Describe your problem management system.

j) Detail your on-boarding process for new customers.

k) Discuss the capability and interface related to your customer portal.

## Services Checklist – IP Network Monitoring and Problem Management

Table 4 shown below list a number of general services that are needed in monitoring the MCFN.  Next to each service, answer “included” or “omitted” as to whether this service is part of your monthly pricing.

| Service | Answer (Included or Omitted) | Comments |
| --- | --- | --- |
| Problem monitoring and management |  |  |
| Threshold monitoring for network conditions and proactive alarm generation |  |  |
| Problem detection, isolation, dispatch and resolution |  |  |
| Router (switch) access security management |  |  |
| Capacity management and utilization reports upon request |  |  |
| Inventory database of all managed elements including device configurations |  |  |
| Incident records and reports |  |  |
| Trouble ticket generation |  |  |
| Engineering dispatch services |  |  |
| Quarterly capacity reporting |  |  |

### Table 4 – Network Monitoring and Problem Management

## Provisioning

The Respondent will be required to work with the MCFN fiber management partner and any carrier who is connected into the MCFN regarding the provisioning of new circuits and the dispatching of customer premise equipment.

All lateral IP services are provided by carrier partners with the MCFN providing transport services only.  Therefore, all new customer provisioning will include a partner carrier.  The Respondent will be required to provide provisioning services that include the placement and configuration of customer premise equipment (if Respondent is bidding on both engineering and NOC services, pricing for provisioning should be included in the engineering section).

# Device Configuration Management

The Respondent will record, maintain and implement all variable configuration parameter details and operating configuration files of every device comprising the MCFN optical network infrastructure that is within the control domain.  The Respondent will routinely and periodically review actual configuration settings of those devices under its control, confirm the validity of those settings and investigate and resolve configuration discrepancies identified in that process.

# Asset Data Management

Describe your process for inventorying and managing network assets.  Include in your discussion the initial inventory process and change management process for adding assets to the MCFN.  Also include software management and version and revision control.

# NOC Pricing

| Item # | Monthly Cost | Notes |
| --- | --- | --- |
| 1 |  |  |
| NOC pricing includes monitoring and integration of network devices. Detail any costs on a per incident basis that are not included in the monthly cost. |

### Table 5 – NOC Pricing Matrix (Monthly Costs)

# Added Value

This section asks the Respondent to provide any value add services that the Respondent can apply to the MCFN.  Value add services include carrier relationships such as introducing new carriers into the MCFN, providing a sales force for revenue generation, or any service that would add to the success of the MCFN.

Be specific as possible.

# Appendix A – Network Equipment

| QTY. | PART # | DESCRIPTION |
| --- | --- | --- |
| JUNIPER |
| 5 | EX4200-24F | EX 4200, 24-port 1000BaseX SFP + 320W AC PS (optics sold separately), includes 50cm VC cable |
| 5 | EX-UM-2XFP | EX 4200 and EX 3200 2-Port 10G XFP Uplink Module (optics sold separately) |
| 20 | EX-SFP-1GE-LH | Small Form Factor Pluggable 1000Base-LH Gigabit Ethernet Optics |
| 20 | EX-SFP-1GE-T | Small Form Factor Pluggable 10/100/1000 Copper Transceiver Module |
| 8 | XFP-10G-E-OC192-IR2 | Dual Rate 10G pluggable transceiver for 10GE and OC192, 1550nm for 40KM transmission. |
| FUJITSU FLASHWAVE |
| 3 | MPP5-MPC1 | HDS Shelf (ANSI/ETSI) |
| 9 | WMP5-W8A1 | Fan Unit |
| 3 | WMP5-W8C1 | 8x1 WSS (50GHz ready) |
| 4 | IFP5-TBA1 | Medium Reach Amplifier |
| 4 | XFP1-1410 | 10G Universal Transponder |
| 4 | WMP5-ASC1 | OC-192/STM-64 Multirate SR-1 (2km) 1310nm (E-TEMP) XFP |
| 4 | SDS | Dispersion Compensation Module - 60km - SMF |
| 12 | WMP5-CP51 | Duplex LC-LC xxx Meter Zip-Cord (clipped) |
| 3 | 1RU Heat Baffle | Duplex LC-LC 1.5 Meter Zip-Cord (clipped) |
| 12 | FAN1 | Duplex LC-LC 0.6 Meter Zip-Cord (clipped) |
| 12 | EE-Frame | Simplex LC xxx Meter |
| 12 | FP21 | Simplex LC 0.30 Meter (intra-Shelf) |
| 2 | FP11 | AC Rectifier Shelf, 19" or 23" rack, single FW9500 |

The construction contract has the following verbiage, which states that an additional piece of MPLS equipment should have been included in equipment list above:

Core Network Equipment. The Core Network Equipment consists of (i) MPLS equipment, all of which is expected to be initially installed (collocated) at the OneCommunity Data center generally located at L2875 Corporate Drive, Parma, Ohio, (ii) Fujitsu backbone equipment which is expected to be initially installed (collocated), in part, at the Parma Data Center and, in part, at the OneCommunity Data Center generally located at 30 North High Street, Akron, Ohio (Akron Data Center), and (iii) access node equipment to be located at six sites along the system Route. The access node initially include (A) five (5) Juniper Ethernet switches (EX-42OO-24F,with 2x10G) to be installed at sites (one per site) to be identified by the Port Authority in Brunswick, Liverpool, Lodi, Medina and Westfield Center, and (b) one (1) Juniper MX96O 3D Universal Edge Router which is expected to be installed (collocated) at the current OneCommunity Data Center generally located at 120 Maple Street, Wadsworth, Ohio (Wadsworth Data center).

# Text boxes

H